Estimated Energy Production

The following is a sample of the estimated energy production of a roof mounted 2kW PV system in one year:

	Month
	Monthly average
daily radiation
on horizontal
surface
(kWh/m²/d)
	Monthly average
daily radiation
in plane of 
PV array ( 45 deg)
(kWh/m²/d)
	Monthly 
average
temperature
(°C)
	Monthly Power from Solar (kWh)

	January
	1.64
	2.595429011
	-7.1
	122.81

	February
	2.57
	3.406413003
	-6.2
	162.00

	March
	3.67
	4.120053267
	-0.8
	201.92

	April
	4.74
	4.635250025
	6.3
	236.00

	May
	5.76
	5.010699584
	12.4
	263.32

	June
	6.31
	5.212694314
	17.4
	280.94

	July
	6.24
	5.459616746
	20.5
	298.79

	August
	5.22
	5.046132049
	19.5
	274.81

	September
	3.92
	4.248661333
	15.2
	226.47

	October
	2.64
	3.368882099
	8.9
	173.88

	November
	1.51
	1.936330832
	3.1
	96.92

	December
	1.25
	1.602656989
	-3.2
	77.51

	 
	 
	Total Power
	 
	2415.37


[image: image1.wmf]S

y

s

t

e

m

 

P

e

r

f

o

r

m

a

n

c

e

0

.

0

0

5

0

.

0

0

1

0

0

.

0

0

1

5

0

.

0

0

2

0

0

.

0

0

2

5

0

.

0

0

3

0

0

.

0

0

3

5

0

.

0

0

January

February

March

April

May

June

July

August

September

October

November

December

T

i

m

e

 

o

f

 

Y

e

a

r

KWH

M

o

n

t

h

l

y

 

P

o

w

e

r

 

f

r

o

m

 

S

o

l

a

r

(

k

W

h

)


[image: image2.wmf]S

y

s

t

e

m

 

P

e

r

f

o

r

m

a

n

c

e

0

.

0

0

5

0

.

0

0

1

0

0

.

0

0

1

5

0

.

0

0

2

0

0

.

0

0

2

5

0

.

0

0

3

0

0

.

0

0

3

5

0

.

0

0

January

February

March

April

May

June

July

August

September

October

November

December

T

i

m

e

 

o

f

 

Y

e

a

r

KWH

M

o

n

t

h

l

y

 

P

o

w

e

r

 

f

r

o

m

 

S

o

l

a

r

(

k

W

h

)


Estimated Annual income from Standard Offer Program contract:

(Note: SOP Contract is for 20 years)

	System
	EST. Annual Energy Generation

( KWH)
	SOP system revenue at $0.42 per KWH
	Current Toronto Hydro Annual Account Fees        ( $14/month)
	Estimated Annual Income from SOP

	975 W
	1,154
	$485
	$168
	$317

	2040 W
	2,415
	$1,014
	$168
	$846

	1950 W
	2,308
	$969
	$168
	$801

	2720 W
	3,220
	$1,352
	$168
	$1,184

	2925 W
	3,463
	$1,455
	$168
	$1,287


[image: image3.jpg]Photovoltaic power production analysis

Data location: Toronto, ON -- refer to App. 1 for more information

Ideal
production
13% nom. Poly-SI 1711 kWh/m?
16% nom. Mono-Sl 2106  kWh/m?
7% nom. Thin film 92.4 kWh/m?

Annual Performance

orientation penalty|

peak array power* : 4
poly-SI performance 2.48 6.05| 23.95
mono-SI performance 3.05 7.44] 29.48
thin film performance 1.34 3.27| 12.94

Daily Performance
Winter  Summer
PV production| 5.0787| 10.38825|kWhr
Home Electricity Use 3.4 3.4|kWhr

peak array power [ 2.3085]

kW from above

0.88] 0.88] 0.88| 0.88] 0.88] 0.88] 0.88] 0.88{ 0.88] 0.88
0.94] 0.94] 0.93] 0.93] 0.92 0.91] 0.90] 0.88] 0.87
0.97{ 0.97| 0.97f 0.96] 0.95 0.92] 0.90{ 0.88] 0.85
0.99] 0.99| 0.98| 0.97| 0.96 0.92| 0.89] 0.86| 0.83
0.98] 0.97] 0.97] 0.95| 0.93] 0.91] 0.88] 0.84/ 0.81] 0.77
0.94] 094/ 0.93] 0.92] 0.90] 0.87| 0.84] 0.81f 0.77] 0.73
0.89| 0.88/ 0.88] 0.86] 0.85] 0.82] 0.79] 0.76[ 0.73] 0.69
0.82| 0.82{ 0.81| 0.80] 0.78] 0.76] 0.74] 0.71| 0.68] 0.64
0.73| 0.73] 0.73] 0.72| 0.71] 0.70] 0.68] 0.65| 0.62{ 0.59

0 10 20 30 40 50 60 70 80 90

South East or West

*pbased on 2.2 sun hours per day winter, 4.5 sun hours per day summer

Daily Energy Performance

Kilowatt Hours

Winter

Ciimmar

PV production

Home Electricity Use

Collector Azimuth Angle

10
20
30
40
50

60
70
80
90




